Construction RFI Types and Good Writing Guide

Purpose

This reference is intended to help classify construction Requests for Information (RFIs) and support clear, professional RFI writing.

Common Types of Construction RFIs

- Design Coordination RFI: Used when design elements conflict or do not align across drawings, disciplines, or details.

- Design Change RFI: Used when a revision to the original design is proposed or requested before or during construction.

- Design Clarification RFI: Used when the design intent is unclear and additional explanation is needed before work can proceed correctly.

- Scope Deletion RFI: Used when a project element or requirement appears to be unnecessary or no longer desired, and clarification is needed before removing it.

- Construction Coordination RFI: Used for questions related to construction sequencing, logistics, access, scheduling, installation approach, or coordination between trades.

- Site Condition RFI: Used when actual field conditions differ from those shown in the drawings, specifications, or design assumptions.

What a Good RFI Should Include:

A well-written RFI should clearly identify:

- the project and issue title

- the location of the issue

- the relevant drawing, detail, or specification reference

- a concise description of the problem

- a clear and answerable question

- any known cost or schedule impact, if applicable

Good RFI Writing Principles

- Be specific and factual.

- Describe the issue without unnecessary background.

- Reference the relevant drawings or specifications when available.

- Ask one clear question whenever possible.

- Do not assume missing information.

- Avoid vague statements such as “please advise” without context.

- Note cost or schedule impact only if it is known or reasonably anticipated.

Common Weaknesses in RFIs

Common weaknesses include:

- missing drawing or specification references

- unclear location

- vague or overly broad questions

- too much narrative and not enough focus

- no explanation of why clarification is needed

- missing indication of potential cost or schedule effect

Example of a Weak RFI Question: “Ceiling layout does not work. Please advise.”

Improved Version: “The reflected ceiling plan on drawing A-401 does not align with the lighting layout shown on E-202 at Grid B4. Please confirm which layout governs and whether the ceiling grid should be adjusted in this area.”